## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 587hr144bioone | bhi_Sharp_adj | Class 1 | 215 | 0.049823 | 4315.2817 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-08-25 10:01 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:01 | 161 | 25 ;84.0 ;0.5
Count Results | 933hr144bioone1 | bhi_Sharp_adj | Class 1 | 485 | 0.0023829 | 2035307.125 | <<Calibration is needed.>> | 2019-08-25 10:03 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:03 | 485 | 25 ;84.0 ;0.5
Count Results | 933hr144bioone | bhi_Sharp_adj | Class 1 | 285 | 0.011903 | 239436.7812 | <<Calibration is needed.>> | 2019-08-25 10:03 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:03 | 285 | 25 ;84.0 ;0.5
Count Results | 587hr144biothree1 | bhi_Sharp_adj | Class 1 | 168 | 0.049823 | 3371.9412 | <<Calibration is needed.>> | 2019-08-25 10:02 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:02 | 168 | 25 ;84.0 ;0.5
Count Results | 587hr144biothree | bhi_Sharp_adj | Class 1 | 85 | 0.049823 | 1706.0416 | <<Calibration is needed.>> | 2019-08-25 10:02 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:02 | 85 | 25 ;84.0 ;0.5
Count Results | 587hr144biotwo1 | bhi_Sharp_adj | Class 1 | 269 | 0.011903 | 22599.4727 | <<Calibration is needed.>> | 2019-08-25 10:02 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:02 | 269 | 25 ;84.0 ;0.5
Count Results | 587hr144biotwo | bhi_Sharp_adj | Class 1 | 252 | 0.011903 | 21171.252 | <<Calibration is needed.>> | 2019-08-25 10:02 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:02 | 252 | 25 ;84.0 ;0.5
Count Results | 587hr144bioone1 | bhi_Sharp_adj | Class 1 | 205 | 0.049823 | 4114.5708 | <<Calibration is needed.>> | 2019-08-25 10:02 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:02 | 205 | 25 ;84.0 ;0.5
Count Results | 933hr144bioone2 | bhi_Sharp_adj | Class 1 | 464 | 0.0023829 | 1947180.5 | <<Calibration is needed.>> | 2019-08-25 10:04 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:04 | 464 | 25 ;84.0 ;0.5
Count Results | 933hr144biotwo | bhi_Sharp_adj | Class 1 | 444 | 0.0023829 | 1863250.25 | <<Calibration is needed.>> | 2019-08-25 10:04 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:04 | 444 | 25 ;84.0 ;0.5
Count Results | 933hr144biotwo1 | bhi_Sharp_adj | Class 1 | 457 | 0.0023829 | 1917804.875 | <<Calibration is needed.>> | 2019-08-25 10:04 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:04 | 457 | 25 ;84.0 ;0.5
Count Results | 933hr144biothree | bhi_Sharp_adj | Class 1 | 376 | 0.0023829 | 1577887.625 | <<Calibration is needed.>> | 2019-08-25 10:04 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:04 | 376 | 25 ;84.0 ;0.5
Count Results | 933hr144biothree1 | bhi_Sharp_adj | Class 1 | 262 | 0.0023829 | 1099485.5 | <<Calibration is needed.>> | 2019-08-25 10:04 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-25 14:04 | 262 | 25 ;84.0 ;0.5