## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 1432hour120biothree | bhi_Sharp_adj | Class 1 | 169 | 0.049823 | 33920124 | <<Calibration is needed.>> | 2019-08-01 14:07 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:07 | 169 | 25 ;84.0 ;0.5
Count Results | 1432hour120biotwo | bhi_Sharp_adj | Class 1 | 192 | 0.049823 | 38536468 | <<Calibration is needed.>> | 2019-08-01 14:09 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:09 | 192 | 25 ;84.0 ;0.5
Count Results | 1344hour120biothree5 | bhi_Sharp_adj | Class 1 | 196 | 0.020183 | 97111752 | <<Calibration is needed.>> | 2019-08-01 14:09 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:09 | 196 | 25 ;84.0 ;0.5
Count Results | 1344hour120biothree4 | bhi_Sharp_adj | Class 1 | 192 | 0.020183 | 95129880 | <<Calibration is needed.>> | 2019-08-01 14:08 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:08 | 192 | 25 ;84.0 ;0.5
Count Results | 701hour120biothree3 | bhi_Sharp_adj | Class 1 | 163 | 0.011903 | 136941040 | <<Calibration is needed.>> | 2019-08-01 14:08 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:08 | 163 | 25 ;84.0 ;0.5
Count Results | 701hour120biothree2 | bhi_Sharp_adj | Class 1 | 265 | 0.020183 | 131299048 | <<Calibration is needed.>> | 2019-08-01 14:08 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:08 | 265 | 25 ;84.0 ;0.5
Count Results | 1432hour120biothree1 | bhi_Sharp_adj | Class 1 | 210 | 0.049823 | 42149264 | <<Calibration is needed.>> | 2019-08-01 14:08 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:08 | 210 | 25 ;84.0 ;0.5
Count Results | 1432hour120biotwo1 | bhi_Sharp_adj | Class 1 | 173 | 0.049823 | 34722964 | <<Calibration is needed.>> | 2019-08-01 14:09 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:09 | 173 | 25 ;84.0 ;0.5
Count Results | 701hour120biotwo2 | bhi_Sharp_adj | Class 1 | 242 | 0.020183 | 119903280 | <<Calibration is needed.>> | 2019-08-01 14:10 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:10 | 242 | 25 ;84.0 ;0.5
Count Results | 701hour120biotwo3 | bhi_Sharp_adj | Class 1 | 190 | 0.011903 | 159624528 | <<Calibration is needed.>> | 2019-08-01 14:10 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:10 | 190 | 25 ;84.0 ;0.5
Count Results | 1344hour120biotwo4 | bhi_Sharp_adj | Class 1 | 211 | 0.020183 | 104543768 | <<Calibration is needed.>> | 2019-08-01 14:10 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:10 | 211 | 25 ;84.0 ;0.5
Count Results | 1344hour120biotwo5 | bhi_Sharp_adj | Class 1 | 214 | 0.020183 | 106030176 | <<Calibration is needed.>> | 2019-08-01 14:10 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:10 | 214 | 25 ;84.0 ;0.5
Count Results | 990hour120biotwo6 | bhi_Sharp_adj | Class 1 | 35 | 0.049823 | 7024877.5 | <<Calibration is needed.>> | 2019-08-01 14:11 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:11 | 35 | 25 ;84.0 ;0.5
Count Results | 990hour120biotwo7 | bhi_Sharp_adj | Class 1 | 31 | 0.049823 | 6222034 | <<Calibration is needed.>> | 2019-08-01 14:11 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:11 | 31 | 25 ;84.0 ;0.5
Count Results | 3286hour120biotwo8 | bhi_Sharp_adj | Class 1 | 226 | 0.032143 | 70310944 | <<Calibration is needed.>> | 2019-08-01 14:11 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:11 | 226 | 25 ;84.0 ;0.5
Count Results | 3286hour120biotwo9 | bhi_Sharp_adj | Class 1 | 213 | 0.032143 | 66266508 | <<Calibration is needed.>> | 2019-08-01 14:11 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:11 | 213 | 25 ;84.0 ;0.5
Count Results | 2381hour120biotwo10 | bhi_Sharp_adj | Class 1 | 41 | 0.049823 | 8229142 | <<Calibration is needed.>> | 2019-08-01 14:11 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:11 | 41 | 25 ;84.0 ;0.5
Count Results | 2381hour120biotwo11 | bhi_Sharp_adj | Class 1 | 37 | 0.049823 | 7426299 | <<Calibration is needed.>> | 2019-08-01 14:12 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:12 | 37 | 25 ;84.0 ;0.5
Count Results | 1432hour120bioone | bhi_Sharp_adj | Class 1 | 175 | 0.049823 | 35124388 | <<Calibration is needed.>> | 2019-08-01 14:12 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:12 | 175 | 25 ;84.0 ;0.5
Count Results | 1432hour120bioone1 | bhi_Sharp_adj | Class 1 | 179 | 0.049823 | 35927228 | <<Calibration is needed.>> | 2019-08-01 14:13 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:13 | 179 | 25 ;84.0 ;0.5
Count Results | 701hour120bioone2 | bhi_Sharp_adj | Class 1 | 166 | 0.011903 | 139461424 | <<Calibration is needed.>> | 2019-08-01 14:13 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:13 | 166 | 25 ;84.0 ;0.5
Count Results | 701hour120bioone3 | bhi_Sharp_adj | Class 1 | 181 | 0.011903 | 152063360 | <<Calibration is needed.>> | 2019-08-01 14:13 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:13 | 181 | 25 ;84.0 ;0.5
Count Results | 1344hour120bioone4 | bhi_Sharp_adj | Class 1 | 221 | 0.020183 | 109498456 | <<Calibration is needed.>> | 2019-08-01 14:13 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:13 | 221 | 25 ;84.0 ;0.5
Count Results | 1344hour120bioone5 | bhi_Sharp_adj | Class 1 | 211 | 0.020183 | 104543768 | <<Calibration is needed.>> | 2019-08-01 14:13 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:13 | 211 | 25 ;84.0 ;0.5
Count Results | 990hour120bioone6 | bhi_Sharp_adj | Class 1 | 33 | 0.049823 | 6623456 | <<Calibration is needed.>> | 2019-08-01 14:14 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:14 | 33 | 25 ;84.0 ;0.5
Count Results | 990hour120bioone7 | bhi_Sharp_adj | Class 1 | 52 | 0.049823 | 10436961 | <<Calibration is needed.>> | 2019-08-01 14:14 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:14 | 52 | 25 ;84.0 ;0.5
Count Results | 3286hour120bioone8 | bhi_Sharp_adj | Class 1 | 220 | 0.032143 | 68444280 | <<Calibration is needed.>> | 2019-08-01 14:15 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:15 | 220 | 25 ;84.0 ;0.5
Count Results | 3286hour120bioone9 | bhi_Sharp_adj | Class 1 | 170 | 0.020183 | 84229576 | <<Calibration is needed.>> | 2019-08-01 14:15 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:15 | 170 | 25 ;84.0 ;0.5
Count Results | 2381hour120bioone10 | bhi_Sharp_adj | Class 1 | 51 | 0.049823 | 10236250 | <<Calibration is needed.>> | 2019-08-01 14:15 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:15 | 51 | 25 ;84.0 ;0.5
Count Results | 2381hour120bioone11 | bhi_Sharp_adj | Class 1 | 51 | 0.049823 | 10236250 | <<Calibration is needed.>> | 2019-08-01 14:15 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-01 18:15 | 51 | 25 ;84.0 ;0.5