## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 1432hour168bioone | bhi_Sharp_adj | Class 1 | 251 | 0.032143 | 78088704 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-08-03 13:36 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:36 | 252 | 25 ;84.0 ;0.6
Count Results | 1344hour168bioone4 | bhi_Sharp_adj | Class 1 | 239 | 0.0062629 | 381610336 | <<Calibration is needed.>> | 2019-08-03 13:37 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:37 | 239 | 25 ;84.0 ;0.6
Count Results | 701hour168bioone3 | bhi_Sharp_adj | Class 1 | 170 | 0.011903 | 142821936 | <<Calibration is needed.>> | 2019-08-03 13:36 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:36 | 170 | 25 ;84.0 ;0.6
Count Results | 701hour168bioone2 | bhi_Sharp_adj | Class 1 | 175 | 0.011903 | 147022592 | <<Calibration is needed.>> | 2019-08-03 13:36 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:36 | 175 | 25 ;84.0 ;0.6
Count Results | 1432hour168bioone1 | bhi_Sharp_adj | Class 1 | 185 | 0.020183 | 91661600 | <<Calibration is needed.>> | 2019-08-03 13:36 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:36 | 185 | 25 ;84.0 ;0.6
Count Results | 1181hour168bioone6 | bhi_Sharp_adj | Class 1 | 228 | 0.020183 | 112966728 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-08-03 13:37 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:37 | 161 | 25 ;84.0 ;0.4
Count Results | 1344hour168bioone5 | bhi_Sharp_adj | Class 1 | 215 | 0.0062629 | 343289632 | <<Calibration is needed.>> | 2019-08-03 13:37 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:37 | 215 | 25 ;84.0 ;0.6
Count Results | 1181hour168bioone7 | bhi_Sharp_adj | Class 1 | 228 | 0.020183 | 112966728 | <<Calibration is needed.>> | 2019-08-03 13:37 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:37 | 228 | 25 ;84.0 ;0.4
Count Results | 84hour168bioone8 | bhi_Sharp_adj | Class 1 | 261 | 0.020183 | 129317176 | <<Calibration is needed.>> | 2019-08-03 13:38 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:38 | 261 | 25 ;84.0 ;0.4
Count Results | 84hour168bioone9 | bhi_Sharp_adj | Class 1 | 250 | 0.020183 | 123867024 | <<Calibration is needed.>> | 2019-08-03 13:38 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:38 | 250 | 25 ;84.0 ;0.4
Count Results | 990hour168bioone10 | bhi_Sharp_adj | Class 1 | 134 | 0.049823 | 26895244 | <<Calibration is needed.>> | 2019-08-03 13:38 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:38 | 134 | 25 ;84.0 ;0.4
Count Results | 990hour168bioone11 | bhi_Sharp_adj | Class 1 | 159 | 0.049823 | 31913014 | <<Calibration is needed.>> | 2019-08-03 13:38 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:38 | 159 | 25 ;84.0 ;0.4
Count Results | 3286hour168bioone12 | bhi_Sharp_adj | Class 1 | 162 | 0.0062629 | 258664752 | <<Calibration is needed.>> | 2019-08-03 13:38 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:38 | 162 | 25 ;84.0 ;0.4
Count Results | 3286hour168bioone13 | bhi_Sharp_adj | Class 1 | 176 | 0.0062629 | 281018496 | <<Calibration is needed.>> | 2019-08-03 13:38 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:38 | 176 | 25 ;84.0 ;0.4
Count Results | 2381hour168bioone14 | bhi_Sharp_adj | Class 1 | 91 | 0.049823 | 18264682 | <<Calibration is needed.>> | 2019-08-03 13:39 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:39 | 91 | 25 ;84.0 ;0.4
Count Results | 2381hour168bioone15 | bhi_Sharp_adj | Class 1 | 80 | 0.049823 | 16056862 | <<Calibration is needed.>> | 2019-08-03 13:39 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:39 | 80 | 25 ;84.0 ;0.4
Count Results | 1432hour168biotwo | bhi_Sharp_adj | Class 1 | 183 | 0.020183 | 90670664 | <<Calibration is needed.>> | 2019-08-03 13:40 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:40 | 183 | 25 ;84.0 ;0.4
Count Results | 1432hour168biotwo1 | bhi_Sharp_adj | Class 1 | 187 | 0.020183 | 92652536 | <<Calibration is needed.>> | 2019-08-03 13:40 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:40 | 187 | 25 ;84.0 ;0.4
Count Results | 1344hour168biotwo2 | bhi_Sharp_adj | Class 1 | 237 | 0.011903 | 199110592 | <<Calibration is needed.>> | 2019-08-03 13:40 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:40 | 237 | 25 ;84.0 ;0.4
Count Results | 1344hour168biotwo3 | bhi_Sharp_adj | Class 1 | 222 | 0.011903 | 186508656 | <<Calibration is needed.>> | 2019-08-03 13:40 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:40 | 222 | 25 ;84.0 ;0.4
Count Results | 701hour168biotwo4 | bhi_Sharp_adj | Class 1 | 201 | 0.011903 | 168865936 | <<Calibration is needed.>> | 2019-08-03 13:40 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:40 | 201 | 25 ;84.0 ;0.4
Count Results | 701hour168biotwo5 | bhi_Sharp_adj | Class 1 | 210 | 0.011903 | 176427104 | <<Calibration is needed.>> | 2019-08-03 13:40 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:40 | 210 | 25 ;84.0 ;0.4
Count Results | 990hour168biotwo6 | bhi_Sharp_adj | Class 1 | 131 | 0.049823 | 26293112 | <<Calibration is needed.>> | 2019-08-03 13:41 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:41 | 131 | 25 ;84.0 ;0.4
Count Results | 990hour168biotwo7 | bhi_Sharp_adj | Class 1 | 133 | 0.049823 | 26694534 | <<Calibration is needed.>> | 2019-08-03 13:41 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:41 | 133 | 25 ;84.0 ;0.4
Count Results | 3286hour168biotwo8 | bhi_Sharp_adj | Class 1 | 165 | 0.0062629 | 263454848 | <<Calibration is needed.>> | 2019-08-03 13:41 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:41 | 165 | 25 ;84.0 ;0.4
Count Results | 3286hour168biotwo9 | bhi_Sharp_adj | Class 1 | 172 | 0.0062629 | 274631712 | <<Calibration is needed.>> | 2019-08-03 13:41 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:41 | 172 | 25 ;84.0 ;0.4
Count Results | 2381hour168biotwo10 | bhi_Sharp_adj | Class 1 | 32 | 0.049823 | 6422745 | <<Calibration is needed.>> | 2019-08-03 13:41 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:42 | 32 | 25 ;84.0 ;0.4
Count Results | 2381hour168biotwo11 | bhi_Sharp_adj | Class 1 | 32 | 0.049823 | 6422745 | <<Calibration is needed.>> | 2019-08-03 13:42 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:42 | 32 | 25 ;84.0 ;0.4
Count Results | 1432hour168biothree | bhi_Sharp_adj | Class 1 | 237 | 0.032143 | 73733160 | <<Calibration is needed.>> | 2019-08-03 13:43 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:43 | 237 | 25 ;84.0 ;0.4
Count Results | 1432hour168biothree1 | bhi_Sharp_adj | Class 1 | 225 | 0.032143 | 69999832 | <<Calibration is needed.>> | 2019-08-03 13:43 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:43 | 225 | 25 ;84.0 ;0.4
Count Results | 701hour168biothree2 | bhi_Sharp_adj | Class 1 | 207 | 0.0062629 | 330516064 | <<Calibration is needed.>> | 2019-08-03 13:44 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:44 | 207 | 25 ;84.0 ;0.4
Count Results | 701hour168biothree3 | bhi_Sharp_adj | Class 1 | 249 | 0.0062629 | 397577312 | <<Calibration is needed.>> | 2019-08-03 13:44 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:44 | 249 | 25 ;84.0 ;0.4
Count Results | 1344hour168biothree4 | bhi_Sharp_adj | Class 1 | 189 | 0.0062629 | 301775552 | <<Calibration is needed.>> | 2019-08-03 13:44 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:44 | 189 | 25 ;84.0 ;0.4
Count Results | 1344hour168biothree5 | bhi_Sharp_adj | Class 1 | 224 | 0.0062629 | 357659904 | <<Calibration is needed.>> | 2019-08-03 13:44 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:44 | 224 | 25 ;84.0 ;0.4
Count Results | 1181hour168biothree6 | bhi_Sharp_adj | Class 1 | 232 | 0.032143 | 72177608 | <<Calibration is needed.>> | 2019-08-03 13:44 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:44 | 232 | 25 ;84.0 ;0.4
Count Results | 1181hour168biothree7 | bhi_Sharp_adj | Class 1 | 238 | 0.032143 | 74044272 | <<Calibration is needed.>> | 2019-08-03 13:45 | Administrator | 10000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-03 17:45 | 238 | 25 ;84.0 ;0.4