## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 587hour0biotwo | bhi_Sharp_adj | Class 1 | 3 | 0.049823 | 60.2132 | <<Calibration is needed.>> | 2019-07-07 11:22 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:22 | 3 | 25 ;84.0 ;0.85
Count Results | 151hour0biotwo3 | bhi_Sharp_adj | Class 1 | 96 | 0.049823 | 1926.8235 | <<Calibration is needed.>> | 2019-07-07 11:23 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:23 | 96 | 25 ;84.0 ;0.85
Count Results | 151hour0biotwo2 | bhi_Sharp_adj | Class 1 | 98 | 0.049823 | 1966.9657 | <<Calibration is needed.>> | 2019-07-07 11:23 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:23 | 98 | 25 ;84.0 ;0.85
Count Results | 587hour0biotwo1 | bhi_Sharp_adj | Class 1 | 1 | 0.049823 | 20.0711 | <<Calibration is needed.>> | 2019-07-07 11:22 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:22 | 1 | 25 ;84.0 ;0.85
Count Results | 54hour0biotwo5 | bhi_Sharp_adj | Class 1 | 116 | 0.049823 | 2328.2451 | <<Calibration is needed.>> | 2019-07-07 11:23 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:23 | 116 | 25 ;84.0 ;0.85
Count Results | 54hour0biotwo4 | bhi_Sharp_adj | Class 1 | 112 | 0.049823 | 2247.9607 | LOOKS LIKE TWO DIFF COLONIES,. REDO<<Calibration is needed.>> | 2019-07-07 11:23 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:23 | 112 | 25 ;84.0 ;0.85
Count Results | 553hour0biotwo6 | bhi_Sharp_adj | Class 1 | 41 | 0.049823 | 822.9142 | <<Calibration is needed.>> | 2019-07-07 11:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:24 | 41 | 25 ;84.0 ;0.85
Count Results | 553hour0biotwo7 | bhi_Sharp_adj | Class 1 | 41 | 0.049823 | 822.9142 | <<Calibration is needed.>> | 2019-07-07 11:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:24 | 41 | 25 ;84.0 ;0.85
Count Results | 151hour0bioONE | bhi_Sharp_adj | Class 1 | 86 | 0.049823 | 1726.1127 | <<Calibration is needed.>> | 2019-07-07 11:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:24 | 86 | 25 ;84.0 ;0.85
Count Results | 151hour0bioONE1 | bhi_Sharp_adj | Class 1 | 78 | 0.049823 | 1565.5441 | <<Calibration is needed.>> | 2019-07-07 11:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:25 | 78 | 25 ;84.0 ;0.85
Count Results | 54hour0bioONE2 | bhi_Sharp_adj | Class 1 | 82 | 0.049823 | 1645.8284 | <<Calibration is needed.>> | 2019-07-07 11:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:25 | 82 | 25 ;84.0 ;0.85
Count Results | 54hour0bioONE3 | bhi_Sharp_adj | Class 1 | 92 | 0.049823 | 1846.5392 | <<Calibration is needed.>> | 2019-07-07 11:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:25 | 92 | 25 ;84.0 ;0.85
Count Results | 531hour0bioONE4 | bhi_Sharp_adj | Class 1 | 20 | 0.049823 | 401.4216 | <<Calibration is needed.>> | 2019-07-07 11:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:25 | 20 | 25 ;84.0 ;0.85
Count Results | 531hour0bioONE5 | bhi_Sharp_adj | Class 1 | 27 | 0.049823 | 541.9191 | <<Calibration is needed.>> | 2019-07-07 11:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:26 | 27 | 25 ;84.0 ;0.85
Count Results | 151hour0bioTHREE | bhi_Sharp_adj | Class 1 | 71 | 0.049823 | 1425.0465 | <<Calibration is needed.>> | 2019-07-07 11:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:26 | 71 | 25 ;84.0 ;0.85
Count Results | 151hour0bioTHREE1 | bhi_Sharp_adj | Class 1 | 98 | 0.049823 | 1966.9657 | <<Calibration is needed.>> | 2019-07-07 11:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:27 | 98 | 25 ;84.0 ;0.85
Count Results | 54hour0bioTHREE2 | bhi_Sharp_adj | Class 1 | 98 | 0.049823 | 1966.9657 | <<Calibration is needed.>> | 2019-07-07 11:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:27 | 98 | 25 ;84.0 ;0.85
Count Results | 54hour0bioTHREE3 | bhi_Sharp_adj | Class 1 | 97 | 0.049823 | 1946.8945 | <<Calibration is needed.>> | 2019-07-07 11:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:27 | 97 | 25 ;84.0 ;0.85
Count Results | 553hour0bioTHREE4 | bhi_Sharp_adj | Class 1 | 38 | 0.049823 | 762.701 | <<Calibration is needed.>> | 2019-07-07 11:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:27 | 38 | 25 ;84.0 ;0.85
Count Results | 553hour0bioTHREE5 | bhi_Sharp_adj | Class 1 | 27 | 0.049823 | 541.9191 | <<Calibration is needed.>> | 2019-07-07 11:28 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-07 15:28 | 27 | 25 ;84.0 ;0.85