## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 1432HR0bioTWO | bhi_Sharp_adj | Class 1 | 108 | 0.049823 | 2167.6765 | <<Calibration is needed.>> | 2019-07-28 12:15 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:15 | 108 | 25 ;84.0 ;0.9
Count Results | 701HR0bioTWO3 | bhi_Sharp_adj | Class 1 | 165 | 0.049823 | 3311.7278 | <<Calibration is needed.>> | 2019-07-28 12:16 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:16 | 165 | 25 ;84.0 ;0.9
Count Results | 701HR0bioTWO2 | bhi_Sharp_adj | Class 1 | 182 | 0.049823 | 3652.9363 | <<Calibration is needed.>> | 2019-07-28 12:16 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:16 | 182 | 25 ;84.0 ;0.9
Count Results | 1432HR0bioTWO1 | bhi_Sharp_adj | Class 1 | 123 | 0.049823 | 2468.7427 | <<Calibration is needed.>> | 2019-07-28 12:16 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:16 | 123 | 25 ;84.0 ;0.9
Count Results | 1181HR0bioTWO7 | bhi_Sharp_adj | Class 1 | 94 | 0.049823 | 1886.6814 | <<Calibration is needed.>> | 2019-07-28 12:17 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:17 | 94 | 25 ;84.0 ;0.9
Count Results | 1181HR0bioTWO6 | bhi_Sharp_adj | Class 1 | 107 | 0.049823 | 2147.6055 | <<Calibration is needed.>> | 2019-07-28 12:17 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:17 | 107 | 25 ;84.0 ;0.9
Count Results | 1344HR0bioTWO5 | bhi_Sharp_adj | Class 1 | 48 | 0.049823 | 963.4117 | <<Calibration is needed.>> | 2019-07-28 12:16 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:16 | 48 | 25 ;84.0 ;0.9
Count Results | 1344HR0bioTWO4 | bhi_Sharp_adj | Class 1 | 37 | 0.049823 | 742.6299 | <<Calibration is needed.>> | 2019-07-28 12:16 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:16 | 37 | 25 ;84.0 ;0.9
Count Results | 84HR0bioTWO8 | bhi_Sharp_adj | Class 1 | 95 | 0.049823 | 1906.7524 | <<Calibration is needed.>> | 2019-07-28 12:17 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:17 | 95 | 25 ;84.0 ;0.9
Count Results | 84HR0bioTWO9 | bhi_Sharp_adj | Class 1 | 95 | 0.049823 | 1906.7524 | <<Calibration is needed.>> | 2019-07-28 12:17 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:17 | 95 | 25 ;84.0 ;0.9
Count Results | 990HR0bioTWO10 | bhi_Sharp_adj | Class 1 | 48 | 0.049823 | 963.4117 | <<Calibration is needed.>> | 2019-07-28 12:17 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:17 | 48 | 25 ;84.0 ;0.9
Count Results | 990HR0bioTWO11 | bhi_Sharp_adj | Class 1 | 57 | 0.049823 | 1144.0515 | <<Calibration is needed.>> | 2019-07-28 12:18 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:18 | 57 | 25 ;84.0 ;0.9
Count Results | 3286HR0bioTWO12 | bhi_Sharp_adj | Class 1 | 49 | 0.049823 | 983.4828 | <<Calibration is needed.>> | 2019-07-28 12:18 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:18 | 49 | 25 ;84.0 ;0.9
Count Results | 3286HR0bioTWO13 | bhi_Sharp_adj | Class 1 | 43 | 0.049823 | 863.0563 | <<Calibration is needed.>> | 2019-07-28 12:18 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:18 | 43 | 25 ;84.0 ;0.9
Count Results | 2381HR0bioTWO14 | bhi_Sharp_adj | Class 1 | 51 | 0.049823 | 1023.625 | <<Calibration is needed.>> | 2019-07-28 12:18 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:18 | 51 | 25 ;84.0 ;0.9
Count Results | 2381HR0bioTWO15 | bhi_Sharp_adj | Class 1 | 42 | 0.049823 | 842.9853 | <<Calibration is needed.>> | 2019-07-28 12:18 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:18 | 42 | 25 ;84.0 ;0.9
Count Results | 1432HR0bioONE | bhi_Sharp_adj | Class 1 | 92 | 0.049823 | 1846.5392 | <<Calibration is needed.>> | 2019-07-28 12:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:24 | 92 | 25 ;84.0 ;0.9
Count Results | 1432HR0bioONE1 | bhi_Sharp_adj | Class 1 | 103 | 0.049823 | 2067.321 | <<Calibration is needed.>> | 2019-07-28 12:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:24 | 103 | 25 ;84.0 ;0.9
Count Results | 701HR0bioONE2 | bhi_Sharp_adj | Class 1 | 184 | 0.049823 | 3693.0784 | <<Calibration is needed.>> | 2019-07-28 12:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:24 | 184 | 25 ;84.0 ;0.9
Count Results | 701HR0bioONE3 | bhi_Sharp_adj | Class 1 | 203 | 0.049823 | 4074.429 | <<Calibration is needed.>> | 2019-07-28 12:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:24 | 203 | 25 ;84.0 ;0.9
Count Results | 1344HR0bioONE4 | bhi_Sharp_adj | Class 1 | 43 | 0.049823 | 863.0563 | <<Calibration is needed.>> | 2019-07-28 12:24 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:24 | 43 | 25 ;84.0 ;0.9
Count Results | 1344HR0bioONE5 | bhi_Sharp_adj | Class 1 | 29 | 0.049823 | 582.0613 | <<Calibration is needed.>> | 2019-07-28 12:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:25 | 29 | 25 ;84.0 ;0.9
Count Results | 1181HR0bioONE6 | bhi_Sharp_adj | Class 1 | 78 | 0.049823 | 1565.5441 | <<Calibration is needed.>> | 2019-07-28 12:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:25 | 78 | 25 ;84.0 ;0.9
Count Results | 1181HR0bioONE7 | bhi_Sharp_adj | Class 1 | 75 | 0.049823 | 1505.3308 | <<Calibration is needed.>> | 2019-07-28 12:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:25 | 75 | 25 ;84.0 ;0.9
Count Results | 84HR0bioONE8 | bhi_Sharp_adj | Class 1 | 127 | 0.049823 | 2549.0269 | <<Calibration is needed.>> | 2019-07-28 12:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:25 | 127 | 25 ;84.0 ;0.9
Count Results | 84HR0bioONE9 | bhi_Sharp_adj | Class 1 | 129 | 0.049823 | 2589.1692 | <<Calibration is needed.>> | 2019-07-28 12:25 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:25 | 129 | 25 ;84.0 ;0.9
Count Results | 990HR0bioONE10 | bhi_Sharp_adj | Class 1 | 81 | 0.049823 | 1625.7573 | <<Calibration is needed.>> | 2019-07-28 12:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:26 | 81 | 25 ;84.0 ;0.9
Count Results | 990HR0bioONE11 | bhi_Sharp_adj | Class 1 | 67 | 0.049823 | 1344.7622 | <<Calibration is needed.>> | 2019-07-28 12:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:26 | 67 | 25 ;84.0 ;0.9
Count Results | 3286HR0bioONE12 | bhi_Sharp_adj | Class 1 | 43 | 0.049823 | 863.0563 | <<Calibration is needed.>> | 2019-07-28 12:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:26 | 43 | 25 ;84.0 ;0.9
Count Results | 3286HR0bioONE13 | bhi_Sharp_adj | Class 1 | 48 | 0.049823 | 963.4117 | <<Calibration is needed.>> | 2019-07-28 12:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:26 | 48 | 25 ;84.0 ;0.9
Count Results | 2381HR0bioONE14 | bhi_Sharp_adj | Class 1 | 52 | 0.049823 | 1043.696 | <<Calibration is needed.>> | 2019-07-28 12:26 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:26 | 52 | 25 ;84.0 ;0.9
Count Results | 2381HR0bioONE15 | bhi_Sharp_adj | Class 1 | 59 | 0.049823 | 1184.1936 | <<Calibration is needed.>> | 2019-07-28 12:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:27 | 59 | 25 ;84.0 ;0.9
Count Results | 1432HR0bioTHREE | bhi_Sharp_adj | Class 1 | 133 | 0.049823 | 2669.4534 | <<Calibration is needed.>> | 2019-07-28 12:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:27 | 133 | 25 ;84.0 ;0.9
Count Results | 1432HR0bioTHREE1 | bhi_Sharp_adj | Class 1 | 129 | 0.049823 | 2589.1692 | <<Calibration is needed.>> | 2019-07-28 12:27 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:27 | 129 | 25 ;84.0 ;0.9
Count Results | 701HR0bioTHREE2 | bhi_Sharp_adj | Class 1 | 149 | 0.049823 | 2990.5906 | <<Calibration is needed.>> | 2019-07-28 12:28 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:28 | 149 | 25 ;84.0 ;0.9
Count Results | 701HR0bioTHREE3 | bhi_Sharp_adj | Class 1 | 156 | 0.049823 | 3131.0881 | <<Calibration is needed.>> | 2019-07-28 12:28 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:28 | 156 | 25 ;84.0 ;0.9
Count Results | 1344HR0bioTHREE4 | bhi_Sharp_adj | Class 1 | 30 | 0.049823 | 602.1323 | <<Calibration is needed.>> | 2019-07-28 12:28 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:28 | 30 | 25 ;84.0 ;0.9
Count Results | 1344HR0bioTHREE5 | bhi_Sharp_adj | Class 1 | 45 | 0.049823 | 903.1985 | <<Calibration is needed.>> | 2019-07-28 12:28 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:28 | 45 | 25 ;84.0 ;0.9
Count Results | 1181HR0bioTHREE6 | bhi_Sharp_adj | Class 1 | 101 | 0.049823 | 2027.1788 | <<Calibration is needed.>> | 2019-07-28 12:28 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:28 | 101 | 25 ;84.0 ;0.9
Count Results | 1181HR0bioTHREE7 | bhi_Sharp_adj | Class 1 | 94 | 0.049823 | 1886.6814 | <<Calibration is needed.>> | 2019-07-28 12:29 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-28 16:29 | 94 | 25 ;84.0 ;0.9