## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 1181hour48biothree | bhi_Sharp_adj | Class 1 | 200 | 0.032143 | 62222.0742 | <<Calibration is needed.>> | 2019-07-30 09:37 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:37 | 200 | 25 ;84.0 ;0.65
Count Results | 1181hour48biotwo2 | bhi_Sharp_adj | Class 1 | 204 | 0.032143 | 63466.5156 | <<Calibration is needed.>> | 2019-07-30 09:39 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:39 | 204 | 25 ;84.0 ;0.6
Count Results | 84hour48biotwo1 | bhi_Sharp_adj | Class 1 | 254 | 0.0062629 | 405560.7812 | <<Calibration is needed.>> | 2019-07-30 09:39 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:39 | 254 | 25 ;84.0 ;0.6
Count Results | 84hour48biotwo | bhi_Sharp_adj | Class 1 | 267 | 0.0062629 | 426317.8438 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-30 09:39 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:39 | 264 | 25 ;84.0 ;0.6
Count Results | 84hour48biothree3 | bhi_Sharp_adj | Class 1 | 264 | 0.0062629 | 421527.75 | <<Calibration is needed.>> | 2019-07-30 09:38 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:38 | 264 | 25 ;84.0 ;0.65
Count Results | 84hour48biothree2 | bhi_Sharp_adj | Class 1 | 241 | 0.0062629 | 384803.75 | <<Calibration is needed.>> | 2019-07-30 09:38 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:38 | 241 | 25 ;84.0 ;0.65
Count Results | 1181hour48biothree1 | bhi_Sharp_adj | Class 1 | 191 | 0.032143 | 59422.082 | <<Calibration is needed.>> | 2019-07-30 09:38 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:38 | 191 | 25 ;84.0 ;0.65
Count Results | 1181hour48biotwo3 | bhi_Sharp_adj | Class 1 | 239 | 0.032143 | 74355.3828 | <<Calibration is needed.>> | 2019-07-30 09:39 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:39 | 239 | 25 ;84.0 ;0.6
Count Results | 84hour48bioone | bhi_Sharp_adj | Class 1 | 355 | 0.0062629 | 566827.0625 | <<Calibration is needed.>> | 2019-07-30 09:40 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:40 | 355 | 25 ;84.0 ;0.6
Count Results | 84hour48bioone1 | bhi_Sharp_adj | Class 1 | 166 | 0.0023829 | 696620.625 | <<Calibration is needed.>> | 2019-07-30 09:40 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:40 | 166 | 25 ;84.0 ;0.6
Count Results | 1181hour48bioone2 | bhi_Sharp_adj | Class 1 | 193 | 0.032143 | 60044.3008 | <<Calibration is needed.>> | 2019-07-30 09:40 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:40 | 193 | 25 ;84.0 ;0.6
Count Results | 1181hour48bioone3 | bhi_Sharp_adj | Class 1 | 200 | 0.032143 | 62222.0742 | <<Calibration is needed.>> | 2019-07-30 09:40 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-30 13:40 | 200 | 25 ;84.0 ;0.6