## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 587hour192bioone | bhi_Sharp_adj | Class 1 | 87 | 0.049823 | 17461.8379 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-08-27 10:52 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:52 | 90 | 25 ;84.0 ;0.5
Count Results | 1587hour192bioone | bhi_Sharp_adj | Class 1 | 280 | 0.0023829 | 11750227 | <<Calibration is needed.>> | 2019-08-27 10:54 | Administrator | 100 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:54 | 280 | 25 ;84.0 ;0.5
Count Results | 587hour192biothree1 | bhi_Sharp_adj | Class 1 | 31 | 0.049823 | 6222.0342 | <<Calibration is needed.>> | 2019-08-27 10:54 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:54 | 31 | 25 ;84.0 ;0.5
Count Results | 587hour192biothree | bhi_Sharp_adj | Class 1 | 23 | 0.049823 | 4616.3481 | <<Calibration is needed.>> | 2019-08-27 10:53 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:53 | 23 | 25 ;84.0 ;0.5
Count Results | 587hour192biotwo1 | bhi_Sharp_adj | Class 1 | 211 | 0.011903 | 177267.2344 | <<Calibration is needed.>> | 2019-08-27 10:53 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:53 | 211 | 25 ;84.0 ;0.5
Count Results | 587hour192biotwo | bhi_Sharp_adj | Class 1 | 184 | 0.011903 | 154583.75 | <<Calibration is needed.>> | 2019-08-27 10:53 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:53 | 184 | 25 ;84.0 ;0.5
Count Results | 587hour192bioone1 | bhi_Sharp_adj | Class 1 | 84 | 0.049823 | 16859.7051 | <<Calibration is needed.>> | 2019-08-27 10:52 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:52 | 84 | 25 ;84.0 ;0.5
Count Results | 1587hour192bioone1 | bhi_Sharp_adj | Class 1 | 279 | 0.0023829 | 11708262 | <<Calibration is needed.>> | 2019-08-27 10:54 | Administrator | 100 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:54 | 279 | 25 ;84.0 ;0.5
Count Results | 1587hour192biotwo | bhi_Sharp_adj | Class 1 | 255 | 0.0023829 | 10701100 | <<Calibration is needed.>> | 2019-08-27 10:54 | Administrator | 100 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:54 | 255 | 25 ;84.0 ;0.5
Count Results | 1587hour192biotwo1 | bhi_Sharp_adj | Class 1 | 254 | 0.0023829 | 10659134 | <<Calibration is needed.>> | 2019-08-27 10:54 | Administrator | 100 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:54 | 254 | 25 ;84.0 ;0.5
Count Results | 1587hour192biotwo2 | bhi_Sharp_adj | Class 1 | 270 | 0.0023829 | 11330576 | <<Calibration is needed.>> | 2019-08-27 10:55 | Administrator | 100 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:55 | 270 | 25 ;84.0 ;0.5
Count Results | 1587hour192biotwo3 | bhi_Sharp_adj | Class 1 | 250 | 0.0023829 | 10491274 | <<Calibration is needed.>> | 2019-08-27 10:55 | Administrator | 100 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-27 14:55 | 250 | 25 ;84.0 ;0.5