## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 587hour240bioone | bhi_Sharp_adj | Class 1 | 237 | 0.011903 | 199110.5938 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-08-29 11:34 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:34 | 238 | 25 ;84.0 ;0.4
Count Results | 1587hour240bioone | bhi_Sharp_adj | Class 1 | 183 | 0.0062629 | 29219538 | <<Calibration is needed.>> | 2019-08-29 11:36 | Administrator | 1000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:36 | 183 | 25 ;84.0 ;0.4
Count Results | 587hour240biothree1 | bhi_Sharp_adj | Class 1 | 132 | 0.049823 | 26493.8223 | <<Calibration is needed.>> | 2019-08-29 11:36 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:36 | 132 | 25 ;84.0 ;0.4
Count Results | 587hour240biothree | bhi_Sharp_adj | Class 1 | 90 | 0.049823 | 18063.9707 | <<Calibration is needed.>> | 2019-08-29 11:35 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:35 | 90 | 25 ;84.0 ;0.4
Count Results | 587hour240biotwo1 | bhi_Sharp_adj | Class 1 | 165 | 0.0023829 | 692424.0625 | <<Calibration is needed.>> | 2019-08-29 11:35 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:35 | 165 | 25 ;84.0 ;0.4
Count Results | 587hour240biotwo | bhi_Sharp_adj | Class 1 | 366 | 0.0062629 | 584390.75 | <<Calibration is needed.>> | 2019-08-29 11:35 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:35 | 366 | 25 ;84.0 ;0.4
Count Results | 587hour240bioone1 | bhi_Sharp_adj | Class 1 | 235 | 0.011903 | 197430.3281 | <<Calibration is needed.>> | 2019-08-29 11:35 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:35 | 235 | 25 ;84.0 ;0.4
Count Results | 1587hour240bioone1 | bhi_Sharp_adj | Class 1 | 189 | 0.0062629 | 30177554 | <<Calibration is needed.>> | 2019-08-29 11:36 | Administrator | 1000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:36 | 189 | 25 ;84.0 ;0.4
Count Results | 1587hour240biotwo | bhi_Sharp_adj | Class 1 | 290 | 0.011903 | 24363742 | <<Calibration is needed.>> | 2019-08-29 11:36 | Administrator | 1000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:36 | 290 | 25 ;84.0 ;0.4
Count Results | 1587hour240biotwo1 | bhi_Sharp_adj | Class 1 | 287 | 0.011903 | 24111704 | <<Calibration is needed.>> | 2019-08-29 11:36 | Administrator | 1000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:36 | 287 | 25 ;84.0 ;0.4
Count Results | 1587hour240biothree | bhi_Sharp_adj | Class 1 | 167 | 0.0062629 | 26664824 | <<Calibration is needed.>> | 2019-08-29 11:37 | Administrator | 1000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:37 | 167 | 25 ;84.0 ;0.4
Count Results | 1587hour240biothree1 | bhi_Sharp_adj | Class 1 | 182 | 0.0062629 | 29059868 | <<Calibration is needed.>> | 2019-08-29 11:37 | Administrator | 1000 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-08-29 15:37 | 182 | 25 ;84.0 ;0.4