## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 56hour60biothree1 | bhi_Sharp_adj | Class 1 | 317 | 0.0023829 | 133029.3594 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-10 11:43 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:43 | 266 | 2 ;84.0 ;0.35
Count Results | 56hour60biothree2 | bhi_Sharp_adj | Class 1 | 237 | 0.0023829 | 99457.2812 | <<Calibration is needed.>> | 2019-07-10 11:43 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:43 | 237 | 2 ;84.0 ;0.35
Count Results | 56hour60biotwo | bhi_Sharp_adj | Class 1 | 704 | 0.0023829 | 295434.2812 | <<Calibration is needed.>> | 2019-07-10 11:45 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:45 | 704 | 4 ;84.0 ;0.35
Count Results | 56hour60bioone1 | bhi_Sharp_adj | Class 1 | 424 | 0.0023829 | 177932.0156 | <<Calibration is needed.>> | 2019-07-10 11:44 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:44 | 424 | 4 ;84.0 ;0.35
Count Results | 56hour60bioone | bhi_Sharp_adj | Class 1 | 509 | 0.0023829 | 213602.3438 | <<Calibration is needed.>> | 2019-07-10 11:44 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:44 | 509 | 4 ;84.0 ;0.35
Count Results | 56hour60biotwo1 | bhi_Sharp_adj | Class 1 | 735 | 0.0023829 | 308443.4688 | <<Calibration is needed.>> | 2019-07-10 11:45 | Administrator | 1 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:45 | 735 | 4 ;84.0 ;0.35