## Sheet2
Results Group Name | Plate Id | Method | Colony Class | Counted Colonies | Counted Volume | Concentration | Comments | Timestamp | Operator | Dilution Factor | Inoculated Volume | Inoculation mode | Excluded Area | Device SN | UTC Created Time | Count From Automatic Process | Input Values: (Tr. to Back, Plate Diam, min Diam)
Count Results | 151hour72biotwo | bhi_Sharp_adj | Class 1 | 206 | 0.0062629 | 328919.375 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-10 11:05 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:05 | 207 | 25 ;84.0 ;0.5
Count Results | 553hour72bioONE | bhi_Sharp_adj | Class 1 | 188 | 0.020183 | 93148.0078 | <<Calibration is needed.>> | 2019-07-10 11:07 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:07 | 188 | 25 ;84.0 ;1.05
Count Results | 553hour72biotwo3 | bhi_Sharp_adj | Class 1 | 216 | 0.020183 | 107021.1094 | <<Calibration is needed.>> | 2019-07-10 11:06 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:06 | 216 | 25 ;84.0 ;1.05
Count Results | 553hour72biotwo2 | bhi_Sharp_adj | Class 1 | 167 | 0.011903 | 140301.5469 | <<Calibration is needed.>> | 2019-07-10 11:06 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:06 | 167 | 25 ;84.0 ;1.05
Count Results | 151hour72biotwo1 | bhi_Sharp_adj | Class 1 | 260 | 0.011903 | 218433.5625 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-10 11:05 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:05 | 188 | 25 ;84.0 ;1.05
Count Results | 151hour72bioONE3 | bhi_Sharp_adj | Class 1 | 201 | 0.0062629 | 320935.9062 | <<Calibration is needed.>> | 2019-07-10 11:08 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:08 | 201 | 25 ;84.0 ;0.6
Count Results | 151hour72bioONE2 | bhi_Sharp_adj | Class 1 | 202 | 0.0062629 | 322532.5938 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-10 11:08 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:08 | 180 | 25 ;84.0 ;0.6
Count Results | 553hour72bioONE1 | bhi_Sharp_adj | Class 1 | 176 | 0.011903 | 147862.7188 | <<Calibration is needed.>> | 2019-07-10 11:07 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:07 | 176 | 25 ;84.0 ;1.05
Count Results | 54hour72bioONE4 | bhi_Sharp_adj | Class 1 | 389 | 0.0062629 | 621114.75 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-10 11:09 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:09 | 162 | 25 ;84.0 ;0.75
Count Results | 54hour72bioONE5 | bhi_Sharp_adj | Class 1 | 370 | 0.0062629 | 590777.5 | <<Calibration is needed.>> | 2019-07-10 11:09 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:09 | 370 | 25 ;84.0 ;0.75
Count Results | 54hour72bioTHREE | bhi_Sharp_adj | Class 1 | 224 | 0.011903 | 188188.9062 | <<Interactive changes have been made.>><<Calibration is needed.>> | 2019-07-10 11:10 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:10 | 183 | 25 ;84.0 ;0.95
Count Results | 54hour72bioTHREE1 | bhi_Sharp_adj | Class 1 | 218 | 0.011903 | 183148.1406 | <<Calibration is needed.>> | 2019-07-10 11:11 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:11 | 218 | 25 ;84.0 ;0.95
Count Results | 151hour72bioTHREE2 | bhi_Sharp_adj | Class 1 | 269 | 0.011903 | 225994.7188 | <<Calibration is needed.>> | 2019-07-10 11:11 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:11 | 269 | 25 ;84.0 ;0.95
Count Results | 151hour72bioTHREE3 | bhi_Sharp_adj | Class 1 | 270 | 0.011903 | 226834.8438 | <<Calibration is needed.>> | 2019-07-10 11:12 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:12 | 270 | 25 ;84.0 ;0.95
Count Results | 553hour72bioTHREE4 | bhi_Sharp_adj | Class 1 | 203 | 0.032143 | 63155.4062 | <<Calibration is needed.>> | 2019-07-10 11:12 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:12 | 203 | 25 ;84.0 ;0.95
Count Results | 553hour72bioTHREE5 | bhi_Sharp_adj | Class 1 | 220 | 0.032143 | 68444.2812 | <<Calibration is needed.>> | 2019-07-10 11:12 | Administrator | 10 | 0.05 | E Mode 50ul | 1.6322 | 10007000/0064 | 2019-07-10 15:12 | 220 | 25 ;84.0 ;0.95